ENCLOSURE–IV

WORK TO BE DONE BY SPECIAL STAFF & MANUFACTURERS AT THE COST OF USER:

- All major breakdowns in A/C Plant’s mechanical / electrical circuit.

- Cooling Tower Gear box / structure problem.

- Workshop job in pumps.

- Burning of motors.

- Annual overhauling of A/C plant, Cooling Tower & Boilers when extra /

expert labour is needed from outside.

- Overhauling of D.G. sets.

- Breakdown in D.G. sets & A.M.F. panels.

- Overhauling of air circuit breakers.

- Rewiring of starter circuit of electrical panel.

- Any carpentry job except minor jobs.

- Any civil job except minor repairs.

- Laying of new water / sewer pipe line.

- Painting job.

- Polishing of floor.

- Annual overhauling of swimming pool filter.

- Any other job not mentioned in the scope of work of the Contractor.

USER:						CONTRACTOR: